## 19-09-2025
1-BPAA
NEWATOM LABS PRIVATE LTD. R&D CENTRE
ANALYTICAL METHOD VALIDATION
|  | TEST | Purity by HPLC
|  | PROJECT | APB/A03 (DAPBI)
|  | PARAMETER | Linearity and Range
|  | INSTRUMENT ID | NAL/ARD/HPLC-04 | [5 empty] | Date : | 2025-09-19
|  | Standard/Imp name | TABA | 4,4-DABA | DAPBI | 2-AP 4-AB | DAPBA | PABI | 4-BIA
Batch No.
|  | Purity/Potency (%) | 99 | 98 | 98 | 98.63 | 97.16 | 97 | 99.99
|  | Standard/Imp wt (mg) | 10.18 | 10.13 | 10.41 | 10.79 | 5.88 | 13.23 | 12.67
|  | Stock solution (mL) | 20 | 20 | 20 | 20 | 10 | 20 | 20
|  | volume taken (mL) | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 1 | 1
|  | Imtermediate stock (mL) | 100 | 100 | 100 | 100 | 100 | 100 | 100
|  | TABA | Concentration(ppm) | Peak area-1 | Peak area-2 | Average
0.0025196 | 0.00083145 | LOQ (30%) | 25.1955 | 3118 | 3118 | 3118
0.0062989 |  | Linearity-2 (50%) | 62.9887 | 8474 | 8474 | 8474
0.0094483 |  | Linearity-3 (75%) | 94.4831 | 11575 | 11575 | 11575
0.012598 |  | Linearity-4 (100%) | 125.9775 | 15068 | 15068 | 15068
0.015747 |  | Linearity-5 (125%) | 157.4719 | 18658 | 18658 | 18658
0.018897 |  | Linearity-6 (150% | 188.9663 | 20784 | 20784 | 20784
|  | Correlation coefficient (R) |  |  |  | 0.99576
|  | R2 |  |  |  | 0.99154
|  | SLOPE |  |  |  | 108.1953
|  | Intercept |  |  |  | 1133.3504
|  | % Y-Intrercept |  |  |  | 7.5216
|  | 4,4-DABA | Concentration(ppm) | Peak area-1 | Peak area-2 | Average
0.0024818 |  | LOQ (30%) | 24.8185 | 4419 | 4419 | 4419
0.0062046 |  | Linearity-2 (50%) | 62.0463 | 12798 | 12798 | 12798
0.0093069 |  | Linearity-3 (75%) | 93.0694 | 18367 | 18367 | 18367
0.012409 |  | Linearity-4 (100%) | 124.0925 | 23754 | 23754 | 23754
0.015512 |  | Linearity-5 (125%) | 155.1156 | 30031 | 30031 | 30031
0.018614 |  | Linearity-6 (150% | 186.1388 | 36301 | 36301 | 36301
|  | Correlation coefficient (R) |  |  |  | 0.9993
|  | R2 |  |  |  | 0.99861
|  | SLOPE |  |  |  | 194.0184
|  | Intercept |  |  |  | 78.9338
|  | % Y-Intrercept |  |  |  | 0.3323
|  | DAPBI | Concentration(ppm) | Peak area-1 | Peak area-2 | Average | [5 empty] | 150 | 6390
0.0025505 |  | LOQ (30%) | 25.5045 | 4315 | 4315 | 4315 | [5 empty] | 2 | 85.2
0.0063761 |  | Linearity-2 (50%) | 63.7612 | 10827 | 10827 | 10827
0.0095642 |  | Linearity-3 (75%) | 95.6419 | 16084 | 16084 | 16084
0.012752 |  | Linearity-4 (100%) | 127.5225 | 20788 | 20788 | 20788
0.01594 |  | Linearity-5 (125%) | 159.4031 | 26481 | 26481 | 26481
0.019128 |  | Linearity-6 (150% | 191.2838 | 31584 | 31584 | 31584
|  | Correlation coefficient (R) |  |  |  | 0.99981
|  | R2 |  |  |  | 0.99961
|  | SLOPE |  |  |  | 163.8506
|  | Intercept |  |  |  | 237.818
|  | % Y-Intrercept |  |  |  | 1.144
|  | 2-AP 4-AB | Concentration(ppm) | Peak area-1 | Peak area-2 | Average
0.0026605 |  | LOQ (30%) | 26.6054 | 3359 | 3359 | 3359
0.0066514 |  | Linearity-2 (50%) | 66.5136 | 7567 | 7567 | 7567
0.009977 |  | Linearity-3 (75%) | 99.7704 | 10972 | 10972 | 10972
0.013303 |  | Linearity-4 (100%) | 133.0272 | 14789 | 14789 | 14789
0.016628 |  | Linearity-5 (125%) | 166.284 | 17800 | 17800 | 17800
0.019954 |  | Linearity-6 (150% | 199.5408 | 24653 | 24653 | 24653
|  | Correlation coefficient (R) |  |  |  | 0.99111
|  | R2 |  |  |  | 0.9823
|  | SLOPE |  |  |  | 117.56
|  | Intercept |  |  |  | -363.5194
|  | % Y-Intrercept |  |  |  | -2.458
|  | DAPBA | Concentration(ppm) | Peak area-1 | Peak area-2 | Average
0.0028565 |  | LOQ (30%) | 28.565 | 305 | 305 | 305
0.0071413 |  | Linearity-2 (50%) | 71.4126 | 729 | 729 | 729
0.010712 |  | Linearity-3 (75%) | 107.1189 | 954 | 954 | 954
0.014283 |  | Linearity-4 (100%) | 142.8252 | 1359 | 1359 | 1359
0.017853 |  | Linearity-5 (125%) | 178.5315 | 1834 | 1834 | 1834
0.021424 |  | Linearity-6 (150% | 214.2378 | 2397 | 2397 | 2397
|  | Correlation coefficient (R) |  |  |  | 0.98989
|  | R2 |  |  |  | 0.97988
|  | SLOPE |  |  |  | 11.0034
|  | Intercept |  |  |  | -99.0259
|  | % Y-Intrercept |  |  |  | -7.2867
|  | PABI | Concentration(ppm) | Peak area-1 | Peak area-2 | Average
0.0012833 | 0.00042349 | LOQ (30%) | 12.8331 | 1848 | 1848 | 1848
0.0032083 |  | Linearity-2 (50%) | 32.0827 | 4566 | 4566 | 4566
0.0048124 |  | Linearity-3 (75%) | 48.1241 | 6690 | 6690 | 6690
0.0064165 |  | Linearity-4 (100%) | 64.1655 | 8863 | 8863 | 8863
0.0080207 |  | Linearity-5 (125%) | 80.2069 | 10935 | 10935 | 10935
0.0096248 |  | Linearity-6 (150% | 96.2482 | 13292 | 13292 | 13292
|  | Correlation coefficient (R) |  |  |  | 0.99988
|  | R2 |  |  |  | 0.99975
|  | SLOPE |  |  |  | 135.9575
|  | Intercept |  |  |  | 138.3871
|  | % Y-Intrercept |  |  |  | 1.5614
|  | 4-BIA | Concentration(ppm) | Peak area-1 | Peak area-2 | Average
0.0012669 |  | LOQ (30%) | 12.6687 | 4345 | 4345 | 4345
0.0031672 |  | Linearity-2 (50%) | 31.6718 | 10911 | 10911 | 10911
0.0047508 |  | Linearity-3 (75%) | 47.5077 | 15825 | 15825 | 15825
0.0063344 |  | Linearity-4 (100%) | 63.3437 | 21237 | 21237 | 21237
0.007918 |  | Linearity-5 (125%) | 79.1796 | 26795 | 26795 | 26795
0.0095015 |  | Linearity-6 (150% | 95.0155 | 32139 | 32139 | 32139
|  | Correlation coefficient (R) |  |  |  | 0.99988
|  | R2 |  |  |  | 0.99976
|  | SLOPE |  |  |  | 336.8279
|  | Intercept |  |  |  | 50.8748
|  | % Y-Intrercept |  |  |  | 0.23956
|  | Impurity name | TABA | 4,4-DABA | DAPBI | 2-AP 4-AB | DAPBA | PABI | 4-BIA
|  | Slope | 108.1953 | 194.0184 | 163.8506 | 117.56 | 11.0034 | 135.9575 | 336.8279
|  | Y-Intercept | 1133.3504 | 78.9338 | 237.818 | -363.5194 | -99.0259 | 138.3871 | 50.8748
|  | RRF wrt TABA | 1 | 1.7932 | 1.5144 | 1.0866 | 0.1017 | 1.2566 | 3.1131
|  | CF wrt TABA | 1 | 0.55765 | 0.66033 | 0.92034 | 9.8329 | 0.7958 | 0.32122
|  | RRF wrt DAPBI | 0.66033 | 1.1841 | 1 | 0.71748 | 0.067155 | 0.82977 | 2.0557
|  | CF wrt DAPBI | 1.5144 | 0.84451 | 1 | 1.3938 | 14.8909 | 1.2052 | 0.48645
100

## Sheet1
Batch no
Test | Specifications | SA002/APB/A03/(DAPBI)-026 | SA002/APB/A03/(DAPBI)-027
Description | White to tan color solid | Light tan color solid | Light tan color solid
Water content (% w/w) | NMT 0.2 | 0.12 | 0.11
Purity by HPLC (% w/w) | NLT 99.8 | 99.83 | 99.83

## 4mgmL Sample(27&26)(19-09-2025)
NEWATOM LABS PRIVATE LTD. R&D CENTRE
COMPLETE ANALYSIS
TEST | Purity by HPLC
PROJECT | APB/A03 (DAPBI)
INSTRUMENT ID | NAL/ARD/HPLC-04 |  |  |  | Date : | 2025-09-19
| TABA | 4,4-DABA | DAPBI | 2-AP 4-AB | DAPBA | PABI | 4-BIA
Slope | 108.1953 | 194.0184 | 163.8506 | 117.56 | 11.0034 | 135.9575 | 336.8279
Y-Intercept | 1133.3504 | 78.9338 | 237.818 | -363.5194 | -99.0259 | 138.3871 | 50.8748
2025-09-19
| SA002/APB/A03(DAPBI)/026 | SA002/APB/A03(DAPBI)/027 | SA002/APB/A03(DAPBI)/026 | SA002/APB/A03(DAPBI)/027 | SA002/APB/A03(DAPBI)/026 | SA002/APB/A03(DAPBI)/027
| Peak Area |  | PPM |  | %
TABA | ND | ND | ND | ND | ND | ND
4,4-DABA | ND | ND | ND | ND | ND | ND
2-AP 4-AB | ND | ND | ND | ND | ND | ND
DAPBA | ND | ND | ND | ND | ND | ND
PABI | 27705 | 27476 | 202.759 | 201.0746 | 0.020276 | 0.020107
4-BIA | 10617 | 10420 | 31.3695 | 30.7846 | 0.003137 | 0.0030785
RRT~ 0.502 | 6203 | 8530 | 36.4062 | 50.6082 | 0.0036406 | 0.0050608
RRT~ 0.945 | 5374 | 7540 | 31.3467 | 44.5661 | 0.0031347 | 0.0044566
RRT~ 1.161 | 10499 | 9235 | 62.6252 | 54.9109 | 0.0062625 | 0.0054911
RRT~ 1.286 | 7810 | 6244 | 46.214 | 36.6565 | 0.0046214 | 0.0036656
RRT~ 1.318 | 11672 | 10694 | 69.7842 | 63.8154 | 0.0069784 | 0.0063815
RRT~ 1.630 | 6043 | 5711 | 35.4297 | 33.4035 | 0.003543 | 0.0033403
RRT~ 1.702 | 61722 | 59667 | 375.2455 | 362.7036 | 0.037525 | 0.03627
RRT~ 1.805 | 32253 | 32223 | 195.3926 | 195.2095 | 0.019539 | 0.019521
RRT~ 1.884 | 12572 | 13685 | 75.277 | 82.0698 | 0.0075277 | 0.008207
RRT~ 1.911 | 17290 | 19176 | 104.0716 | 115.582 | 0.010407 | 0.011558
RRT~ 1.943 | 5087 | 5122 | 29.5952 | 29.8088 | 0.0029595 | 0.0029809
RRT~ 2.047 | 15750 | 14714 | 94.6727 | 88.3499 | 0.0094673 | 0.008835
RRT~ 2.111 | 12879 | 14086 | 77.1507 | 84.5171 | 0.0077151 | 0.0084517
RRT~ 2.133 | 34702 | 34370 | 210.3391 | 208.3129 | 0.021034 | 0.020831
RRT~ 2.256 | 10516 | 9253 | 62.729 | 55.0208 | 0.0062729 | 0.0055021
Sum of Unknown imp |  |  | 1506.2794 | 1505.5349 | 0.15063 | 0.15055
Total imp |  |  | 1740.4079 | 1737.3941 | 0.17404 | 0.17374
Purity (%) |  |  |  |  | 99.826 | 99.8263

## 4mgmL Sample(26)(4th day)
| TABA | 4,4-DABA | DAPBI | 2-AP 4-AB | DAPBA | PABI | 4-BIA
Slope | 108.1953 | 194.0184 | 163.8506 | 117.56 | 11.0034 | 135.9575 | 336.8279
Y-Intercept | 1133.3504 | 78.9338 | 237.818 | -363.5194 | -99.0259 | 138.3871 | 50.8748
2025-09-19
| SA002/APB/A03(DAPBI)/026(4th day) | SA002/APB/A03(DAPBI)/026(4th day) | SA002/APB/A03(DAPBI)/026(4th day)
| Peak Area | PPM | %
TABA | ND | ND | ND
4,4-DABA | ND | ND | ND
2-AP 4-AB | ND | ND | ND
DAPBA | ND | ND | ND
PABI | 23241 | 169.9252 | 0.016993
4-BIA | 11104 | 32.8153 | 0.0032815
RRT~ 0.502 | 7884 | 46.6656 | 0.0046666
RRT~ 0.945 | 4930 | 28.637 | 0.0028637
RRT~ 1.161 | 11101 | 66.2993 | 0.0066299
RRT~ 1.286 | 6210 | 36.449 | 0.0036449
RRT~ 1.318 | 8921 | 52.9945 | 0.0052995
RRT~ 1.630 | 8324 | 49.351 | 0.0049351
RRT~ 1.702 | 56578 | 343.851 | 0.034385
RRT~ 1.805 | 23525 | 142.1245 | 0.014212
RRT~ 1.884 | 12945 | 77.5535 | 0.0077553
RRT~ 1.911 | 20855 | 125.8292 | 0.012583
RRT~ 1.943 | 5001 | 29.0703 | 0.002907
RRT~ 2.047 | 18865 | 113.684 | 0.011368
RRT~ 2.111 | 12428 | 74.3982 | 0.0074398
RRT~ 2.133 | 23436 | 141.5813 | 0.014158
RRT~ 2.256 | 6985 | 41.1789 | 0.0041179
Sum of Unknown imp |  | 1369.6672 | 0.13697
Total imp |  | 1572.4077 | 0.15724
Purity (%) |  |  | 99.8428